CAEN CFD
Ch	Signal
0	PMT South
1	PMT Middle
2	PMT North
3	-
4	Photo Diod NO
5	Photo Diod SO
6	PartDet South
7	PartDet North
8	-
9	-
10	-
11	-
12	Master Osc HF (south)
13	-
14	-
15	Master Osc HF (north)

VUPROM TDC
Ch	Signal
0	Cobra busy
1	Next Laserstep
2	Laserscan Complete
3	PMT South
4	PMT Middle
5	PMT North
6	-
7	PartDet South
8	PartDet North
9	QSwitch_500us
10	-
11	-
12	(Bunch HF) not con.
13	Photo Diod NO
14	Photo Diod SO
15	QSwitch

VUPROM Scaler
Ch	Signal
16	DC Trafo
17	Injection not con.
18	U_Cooler
19	I_Cooler
20	Pressure Gun
21	Pressure Collector
22	Common Stop
23	1 MHz
24	HF frequency (not con.)
25	-
26	-
27	-
28	-
29	-
30	-
31	-

Mesytec MSCF16 (DAQ2)
Ch	Signal
1	PMT South x 10 (A)
2	PMT Mid x 10 (C)
3	PMT North x 10 (E)
4	-
5	PMT South x 100 (B)
6	PMT Mid x 100 (D)
7	PMT North x 100 (F)
8	-

Vulom Scaler (DAQ2)
Ch	Signal
0	RF Frequency
1	1 MHz
2	100 Hz
3	Accepted Trigger
4	Dye Out
5	PMT South x 10 (A)
6	PMT Mid x 10 (C)
7	PMT North x 10 (E)
8	-
9	PMT South x 100 (B)
10	PMT Mid x 100 (D)
11	PMT North x 100 (F)
12	-
13	DC Trafo
14	PartDet South
15	PartDet North
16/17

CAEN V1290 TDC (DAQ2)
Ch	Signal
15	Common Stop
14	PMT South x 100 (B)
13	PMT Mid x 100 (D)
12	PMT North x 100 (F)
11	-
10	Laserscan Complete
9	Next Laserstep
8	Cobra busy
7	Common Stop
6	QSwitch
5	PMT South
4	PMT Middle
3	PMT North
2	PartDet South
1	Photo Diod NO
0	Photo Diod SO

CAEN ADC (DAQ2)
Ch	Signal
15
14
13
12
11
10
9
8
7	-
6	PMT North x 100 (F)
5	PMT Mid x 100 (D)
4	PMT South x 100 (B)
3	-
2	PMT North x 10 (E)
1	PMT Mid x 10 (C)
0	PMT South x 10 (A)