## Sheet1
E142 “DAQ2” – Cabling documentation
MesyTec Shaper			CAEN ADC			CAEN TDC1			Vulom Scaler		Vuprom TDC		Vuprom Sclaer
ch.	signal		ch.	signal		ch.	signal		ch.	signal	ch.	signal	ch.	signal
1	-		1	-		1	-		1	Bunch untersetzt	1	XUV Back	1	XUV Back
2	PMT Mid [x1]		2	PMT Mid [x1]		2	PMT Mid [x1]		2	1MHz clock	2	XUV-Anode	2	XUV-Anode
3	PMT North [x1]		3	PMT North [x1]		3	PMT North [x1]		3	100Hz clock	3	XUV Anode delayed	3	XUV Anode delayed
4	PMT Cu [x1]		4	PMT Cu [x1]		4	PMT Cu [x1]		4		4	PMT South (Gas jet)	4	PMT South (Gas jet)
5	PMT South [x2]		5	PMT South [x2]		5	PMT South [x2]		5	Trigger?	5	PMT middle	5	PMT middle
6	PMT Mid [x2]		6	PMT Mid [x2]		6	PMT Mid [x2]		6	Accepted	6	PMT North	6	PMT North
7	PMT North [x2]		7	PMT North [x2]		7	PMT North [x2]		7	next laser step	7	PMT CU	7	PMT CU
8	PMT Cu [x2]		8	PMT Cu [x2]		8	PMT Cu [x2]		8	end laser scan	8	Part Dec South	8	Part Dec South
9	XUV Anode [x1]		9	XUV Anode [x1]		9	XUV Anode [x1]		9	laser busy	9	Part. Dec North	9	Part. Dec North
10	XUV Anode [x2]		10	XUV Anode [x2]		10	XUV Anode [x2]		10	Cooler HV	10		10
11			11			11			11	Cooler I_el	11		11
12			12			12			12	DCTrafo	12		12
13	Scint. NI		13	Scint. NI		13	Scint. NI		13		13		13
14			14			14			14		14	PD-NO	14	PD-NO
15			15			15			15	SA_SZ CFD	15	PD-SO	15	PD-SO
16			16			16			16	NA_SZ CFD	16	Q-Switsch	16	Q-Switsch
			17					17				17	DC trafo
			18					18				18	Injection ????
			19					19				19	U Ecooler
			20					20				20	I Ecooler
			21					21				21	P gun
			22					22				22	P collector
			23					23				23	Bunching hF south
			24					24				24	1MHz Clock
			25					25				25	Empty
			26					26				26	Empty
			27					27				27	Empty
			28					28				28	Dye out
			29					29				29	Empty
			30					30				30	Detector in (strobed 1MHz
			31					31				31	laser step compl
			32					32				32	laser scan compl